## Slide 1: Automatic Optimization of Radiotherapy Treatments
Using Reinforcement Learning

## Slide 2: Cancer treatments
Surgery
Chemotherapy
+: Safe (little damage to healthy tissues)
-: Tumor needs to be localized & accessible
-: Heavy medicine on all the body
+: Tumor does not need to be localized

## Slide 3: Cancer treatments
-: Heavy medicine on all the body
+: Tumor does not need to be localized
+: Safe
-: Tumor needs to be localized
Surgery
Chemotherapy
Radiotherapy
+: Relatively safe (most tissues are spared)
-: Tumor needs to be (relatively) localized

## Slide 4: Multi-Leaf Collimator
Notes: Do the demo with wood MLC & light

## Slide 5: Dose repartition
80 Gy
0 Gy
“high dose”
“low dose”

## Slide 6: Spreading rays
Notes: Sagittal

## Slide 7: Step-and-Shoot (2/2)
Notes: Sagittal

## Slide 8: Step-and-Shoot (1/2)
Ideal heatmap
Discretized heatmap

## Slide 9: Step-and-Shoot (2/2)
+
+
+
=
dose to deliver

## Slide 10: Sliding Window (1/3)

## Slide 11: Sliding Window (2/3)

## Slide 12: Sliding Window (3/3)

## Slide 13: Radiotherapy Workflow

## Slide 14: Problem statement
List of “objectives”

## Slide 15: Mathematical formulation

## Slide 16: Mathematical formulation
if constraint is not satisfied for structure , else
Notes: Ideally, we want to minimize the dose on OARs while meeting the DVH objectives.
In practice, meeting all DVH objectives isn’t possible, so we try to to be as close as possible to meeting them.

## Slide 17: Current Workflow
Patient data
CT scan
OARs & PTVs contours
doctors' objectives
Engine minimizing the objective function
Input from dosimetrist
Weights of each objective
Treatment plan
Fluences
Leaf movements
Dose per organ

## Slide 18: 1st Automatization try “baseline”
Patient data
CT scan
OARs & PTVs contours
doctors' objectives
Engine minimizing the objective function
Treatment plan
Fluences
Leaf movements
Dose per organ
Fine tuning of hyper parameters
Meta-optimizer

## Slide 19: 1st (bis) Automatization try
Patient data
CT scan
OARs & PTVs contours
doctors' objectives
Engine minimizing the objective function
Treatment plan
Fluences
Leaf movements
Dose per organ
Sets of Weights
Dose 1
Dose 2
Dose 3
Dose 4

## Slide 20: 2nd Automatization try (work in progress)
Patient data
CT scan
OARs & PTVs contours
doctors' objectives
Engine minimizing the objective function
RL Agent
Treatment plan
Fluences
Leaf movements
Dose per organ
Learning based on previous cases